## Slide 1
Small Modular Reactors, PBMR and others
Mark Mitchell
Presented to Launch of SAIEE Power and Energy Section Nuclear Chapter. Thursday, 28th November 2019

## Slide 2
Why Small Modular Reactors?
PBMR, a big contributor
What is USNC doing?

## Slide 3
Why Small Modular Reactors?
PBMR, a big contributor
What is USNC doing?

## Slide 4
Nuclear Power is key to deep decarbonization of society

## Slide 5
Nuclear Power Technology is under threat in many parts of the world

## Slide 6: Advanced and Small Modular reactors are response to this
6
140
Advanced Reactor Projects
65
Small Modular reactors
5
Major technologies

## Slide 7: What do we see as the major challenges to nuclear Micro-modular reactors – Why do they matter
Nuclear Technology is losing ground
Economics
Costs and productivity
Investment Quanta / Market fit
Risk
Safety and public perceptions
Catastrophic Potential
Dread
Security / Safeguards
Regulatory
Nuclear Regulation Processes
Other government and international regulation
?
?
?

## Slide 9
Chart: Cumulative Constrcution [MWe]
| 0 | 0 | 0 | 0 | 0 | 0 | 265.000001 | 765.00000299999999 | 765.00000299999999 | 1265.0000050000001 | 2018.000008 | 3078.0000110000001 | 4195.0000150000014 | 5775.0000179999997 | 8083.0000239999999 | 9733.0000279999967 | 15196.000037 | 30407.000059000002 | 54892.000091000009 | 61006.000098000011 | 77402.000117000032 | 85215.000127000021 | 100924.000145 | 111669.00015599999 | 132928.00017700001 | 154869.000199 | 174432.000218 | 185548.00023100001 | 193575.00024000011 | 208316.00025400001 | 219097.000264 | 227809.00027300001 | 238807.00028200011 | 242969.00028600011 | 248147.00029100009 | 254708.00029900009 | 254708.00029900009 | 255835.0003000001 | 260727.0003040001 | 264745.00031000009 | 268012.00031500013 | 270258.00031700009 | 273352.00032000011 | 276567.00032300019 | 277901.00032500009 | 277901.00032500009 | 277901.00032500009 | 279801.00032700022 | 280597.00032800023 | 281547.00032900018 | 285893.00033400021 | 287197.00033500022 | 289637.0003400002 | 289839.00034100021 | 290705.00034200022 | 290705.00034200022 | 291703.00034300023 | 293648.00034500018 | 295938.0003470002
Unit Cost | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1883.9918 | 4089.631 | #N/A | 3720.1813 | 2862.616 | 2568.681 | 2412.4223 | 2669.1025 | 1308.3315 | 1745.2858 | 1572.294 | 1150.8808 | 1613.1576 | 1664.7245 | 1992.647 | 1761.7117 | 2812.0074 | 2954.3032 | 4090.5564 | 3345.2317 | 3898.5963 | 3125.3242 | 2537.3699 | 2061.5096 | 2454.099 | 2738.1695 | 2753.8974 | 2711.5135 | 2414.9545 | 3445.6319 | #N/A | 4210.0234 | 3126.4875 | 3235.3121 | 2892.2629 | 2390.3065 | 3007.3793 | 2384.8115 | 2921.1826 | #N/A | #N/A | 1690.1036 | 4790.4079 | 1933.8575 | 2819.7194 | 3110.7293 | 1973.9326 | 1845.3109 | 3829.8626 | #N/A | 1987.862 | 2011.5763 | 1875.9185
50 years

## Slide 10
Chart: Cumulative Constrcution [MWe]
| 0 | 0 | 0 | 0 | 0 | 0 | 265.000001 | 765.00000299999999 | 765.00000299999999 | 1265.0000050000001 | 2018.000008 | 3078.0000110000001 | 4195.0000150000014 | 5775.0000179999997 | 8083.0000239999999 | 9733.0000279999967 | 15196.000037 | 30407.000059000002 | 54892.000091000009 | 61006.000098000011 | 77402.000117000032 | 85215.000127000021 | 100924.000145 | 111669.00015599999 | 132928.00017700001 | 154869.000199 | 174432.000218 | 185548.00023100001 | 193575.00024000011 | 208316.00025400001 | 219097.000264 | 227809.00027300001 | 238807.00028200011 | 242969.00028600011 | 248147.00029100009 | 254708.00029900009 | 254708.00029900009 | 255835.0003000001 | 260727.0003040001 | 264745.00031000009 | 268012.00031500013 | 270258.00031700009 | 273352.00032000011 | 276567.00032300019 | 277901.00032500009 | 277901.00032500009 | 277901.00032500009 | 279801.00032700022 | 280597.00032800023 | 281547.00032900018 | 285893.00033400021 | 287197.00033500022 | 289637.0003400002 | 289839.00034100021 | 290705.00034200022 | 290705.00034200022 | 291703.00034300023 | 293648.00034500018 | 295938.0003470002
Unit Cost | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1883.9918 | 4089.631 | #N/A | 3720.1813 | 2862.616 | 2568.681 | 2412.4223 | 2669.1025 | 1308.3315 | 1745.2858 | 1572.294 | 1150.8808 | 1613.1576 | 1664.7245 | 1992.647 | 1761.7117 | 2812.0074 | 2954.3032 | 4090.5564 | 3345.2317 | 3898.5963 | 3125.3242 | 2537.3699 | 2061.5096 | 2454.099 | 2738.1695 | 2753.8974 | 2711.5135 | 2414.9545 | 3445.6319 | #N/A | 4210.0234 | 3126.4875 | 3235.3121 | 2892.2629 | 2390.3065 | 3007.3793 | 2384.8115 | 2921.1826 | #N/A | #N/A | 1690.1036 | 4790.4079 | 1933.8575 | 2819.7194 | 3110.7293 | 1973.9326 | 1845.3109 | 3829.8626 | #N/A | 1987.862 | 2011.5763 | 1875.9185

## Slide 11
Many people dread nuclear power

## Slide 12: Do we as the nuclear industry consider this an acceptable risk?
Earthquake and Tsunami: 16,000 dead, 6,000 injured, 2,500 missing.
470,000 evacuates [154,000 due to radiation concerns] (174,000 were still displaced 5 years later)
$235bn economic loss
11 municipalities contaminated (5 years later 36% decontaminated)

## Slide 13: What do we see as the major challenges to nuclear Micro-modular reactors – Why do they matter
Nuclear Technology is losing ground
Economics
Costs and productivity
Investment Quanta / Market fit
Risk
Safety and public perceptions
Catastrophic Potential
Dread
Security / Safeguards
Regulatory
Nuclear Regulation Processes
Other government and international regulation
?
?
?

## Slide 14
Why Small Modular Reactors?
PBMR, a big contributor
What is USNC doing?

## Slide 15
South Africa, through the PBMR program, was a major contributor to this burst in innovation
Mitchell, 2008 “The PBMR Demonstration Power Plant Core Structure Ceramics and Programme, Presented to the 9th International Graphite Specialists Meeting, September 2008.

## Slide 16: The PBMR Program in Summary
Pebble Bed Modular Reactor – Project ran from 1998-2010
  Worked to develop reactor, fuel technology and
  Planned to licenses and execute a demonstration project on the Koeberg site
  Peak staff about 1,200
  Fully localized HTR technology licensed from Germany
Demonstrated a potential alternative path to deploying nuclear
Inspired several other programs NGNP, HTR-PM
Built up world-class capabilities
PBMR was innovating based on proven German technology to bring nuclear to market at new scale and efficiencies.

## Slide 17: DPP Status (in 2008)
South African utility Eskom issued letter of intent for follow-on electric plants
Basic design completed; detailed design started
International supply team in place
Extensive test programs underway
Koeberg Nuclear Power Plant Site, Cape Town

## Slide 18: Helium Test Facility
The 43 m high Helium Test Facility at Pelindaba will test the helium blower, valves, heaters, coolers, recuperator and other components at pressures up to 95 bar and 1200 degrees C.

## Slide 19: Test facilities at the North-West University
High Pressure Test Unit
PBMM
Pebble Bed Micro Model
High Temperature Test Unit

## Slide 20: Core Barrel Assembly
Single support concept verification tests
DPP Core Barrel Assembly forgings at JSW

## Slide 21: Core Structure Ceramics
DPP Graphite feedstock
Prototype manufacturing of graphite blocks
PBMR CNC machines installed at SGL

## Slide 22: RPV material
RPV raw material at mills
RPV rolled segments arrived
at ENSA fabrication shop
Different RPV bottom dome segments and flanges in ENSA’s fabrication shop

## Slide 23: RPV Manufacturing
Longitudinal welding started on 10 Oct 08
Machined RSS top lid ring
Machined CUD nozzle flange

## Slide 24: Fuel Fabrication at Pelindaba

## Slide 25
PBMR unlocked the global SMR / AMR

## Slide 26
Why Small Modular Reactors?
PBMR, a big contributor
What is USNC doing?

## Slide 27
About USNC and the MMR® program
USNC (Ultra Safe Nuclear) is a private US (owned and controlled) company spinoff from the DOE Labs, working to commercialize our fuel and reactor technologies
27
The USNC Company:
  Founded 2011 as a spinoff from the DOE labs and Deep Burn Program
  Fully privately funded US company, $20m investment to date
  Our head office is in Seattle WA, we have 50+ people in 6 countries
USNC develops and promotes its technology in three areas:
  Fully Ceramic Micro-encapsulated (FCM™) fuel – origins from NGNP and Deep Burn Programs
  Micro Modular Reactor (MMR®) - HTGR using FCM fuel for remote power applications
  Advanced Systems: Space Nuclear Power, Advanced Terrestrial Reactors
The Micro Modular Reactor Program:
  USNC is the leading company in the race to provide energy as a service for remote mines and communities in Northern Canada
  Business model is based on Fundable Renewables Energy Business Models currently being followed throughout the world
  Implementing with support from three international Industrial Partners
  We are a Leader in the estimated $10B/year Construction and $50B/year Energy market

## Slide 28: USNC™ CORE TECHNOLOGY
Manufactured with TRISO coated fuel particles compacted in specially sintered Silicon Carbide pellets
An extension of a reliable and historically proven technology resulting in two extra and very strong barriers against radioactivity release
Full containment of radioactive materials during operations and accident conditions
Eliminates any chance of proliferation
Provides environmental protection in the permanent repository after operations
Fully Ceramic Micro-encapsulated (FCM™) Fuel – Makes Nuclear as Clean as Renewables
USNC holds all the patents and other IP necessary to manufacture this fuel

## Slide 29: USNC™ COMMERCIAL TECHNOLOGY
MMR Modular Reactor (MMR ™)
Combination of key elements:
  FCM Fuel
  Clean non-radioactive low-energy coolant
  Low power density and high conductivity solid moderator
  Simple design
Allows for:
  Fast construction and disassembly (<1 year total)
  Transportable modules
  Baseload + 25% up-swings
  Un-interrupted operation for 20 years
  Modular assembly
  Reactor Refurbishment after use
Low cost, modular, accident proof nuclear energy

## Slide 30: MMR-REM™ Reference Power Plant for remote power applications
5-50 MWe class power-generating system designed to deliver 100% available power to remote area mines and communities of Canada
Multiple 15 MWth Micro Modular Reactors (MMR), supplemented and backed-up by diesel generators, renewables, and Li-ion battery power units
Provides highly reliable power compliance with the load variations of the off-grid customers

## Slide 31: USNC Vision: The MMR™ will be different from Old Nuclear
Less development cost: $80 million – not $800 million
Shorter construction time: 6 months – not 60 months
Less project development: $10 million – not $1 billion
Less to build first unit : $100 million – not $1 billion
Higher number of unit sales: 10 units – not 1 unit
1
Factor of
0

## Slide 32
Conclusions

## Slide 33: Will SMR be able to address some of the challenges nuclear faces?
We don’t know yet?
The reward makes it worth the effort!
Many are trying?
South Africa, through PBMR, was a notable contributor

## Slide 34: © USNC - Ultra Safe Nuclear Corporation 2288 W Commodore Way, Seattle, WA 98199 +1 206-906-9741 info@usnc.com