## Slide 1: Elemental analysis of Kimberlite and associated Country Rock
Marius Tchonang1, Martin Cook1, Faan Bornman2
Simon Connell1and Sergio Ballestrero1
1Physics Department, University of Johannesburg
2Multotec Process Equipment (Pty) Ltd

## Slide 2: Outline
Context (MinPET)
Experiment
Analysis
Results and Conclusion

## Slide 3: Context (MinPET)
coarse crush
gamma beam
irradiation hopper
hold hopper (20min)
planar PET detector
ejection flaps
Notes: Part of evaluting the species activated in the irradiation

## Slide 4: Experiment (Aarhus University)
The 100 MeV electron Microtron
The gamma spectrometer
Kimberlite

## Slide 5
n.d.
79
139
Sr
1370
752
728
Cr
1338
950
1354
Ni
99.6
99.4
97.5
Total
0.15
0.22
0.20
CO2
0.19
0.13
0.15
P2O5
1.10
1.89
0.91
H2O-
7.47
9.89
8.20
H2O+
1.22
0.20
0.67
K2O
0.71
<0.1
0.20
Na2O
6.02
0.42
3.64
CaO
27.25
36.0
27.85
MgO
0.10
0.25
0.16
MnO
4.28
2.89
2.70
FeO
5.03
4.05
4.90
Fe2O3
2.87
3.77
3.66
Al2O3
2.21
0.83
0.74
TiO2
40.96
39.1
43.5
SiO2
Black Kimberlite
Altered Grey Kimberlite
Grey Kimberlite
The composition of Kimberlite
(wt% major, ppm trace elements)

## Slide 6: Analysis (Time differential gamma-ray Spectroscopy)
Calibrated energy spectrum with the
dominance of the 511 keV PET line
Time differential gamma spectroscopy for
life-time determination for each gamma-line
845.8 keV
Notes: 845.8 keV

## Slide 7: Analysis Continued

## Slide 8: Analysis Continued

## Slide 9: Analysis Continued
Single spectrum for the 845.8 keV gamma-line for consecutive time slices
Area under the fit gives new data which are a function of the peak height
Notes: Area under the fit gives new data which are a function of the peak height

## Slide 10: Analysis Continued
Single decay fit gives T1/2=62 min
Single decay fit of the 845.8 keV peak
Notes: Single decay fit of the 845.8 keV peak

## Slide 11: Analysis Continued

## Slide 12: Analysis Continued
T1/2=10 min for the unknown species
Two species fit with one fixed to 56Mn

## Slide 13: Analysis Continued
Notes: Couldn’t see a mechanism by which 69As could be made in kimberlite; if there is 45K floating around, its signal will be drowned out by the two others

## Slide 14: Analysis Continued
Sum of 56Mn and 27Mg fit of the 845.8 keV peak
Notes: Sum of 56Mn and 27Mg fit of the 845.8 keV peak

## Slide 15: Analysis Continued
Sum of 11C, 13N and 15O fit of the 511 keV peak
Notes: Sum of 56Mn and 27Mg fit of the 845.8 keV peak

## Slide 16: Results
511 keV
27Mg (9.46 min)
56Mn (2.58h)
24Na (15h)
52Mn (21min)
24Na (15h)
Double escape from 2754 keV
Single escape from 2754 keV
40K (Years)
Notes: Full peak identification done unambiguously for different types samples
Very good sensitivity as we were also able to identify the K signal present everywhere in the environment

## Slide 17: Acknowledgement
I would like to thank the University of
Johannesburg for the financial support
All the members of the psi group
THANK YOU
Notes: THANK YOU