## Slide 1: FinEstBeAMS atmospheric science beamline at MAX IV Atmospheric pollutants interrogated by photons African Light Source and African Physical Society meeting 2025-11-19
Axel C. Eriksson et al LUND UNIVERSITY (Sweden) https://orcid.org/0000-0002-1692-0376

## Slide 2: Physico-Chemical analysis of aerosol particles
Operation cost
User friendliness
Field Deployability
Level-of-scientific-understanding
(of measurement)
https://doi.org/10.5194/acp-9-5155-2009

## Slide 3: Atmospheric pollutants interrogated by photons
MAX IV synchrotron Aerosol Sample Delivery System
Soot Particle
Aerosol Mass Spectrometer
XACT multimetal monitor
Single particle Soot photometer
7 λ Aethalometer

## Slide 4: Atmospheric pollutants interrogated by photons
MAX IV synchrotron Aerosol Sample Delivery System
Soot Particle
Aerosol Mass Spectrometer
XACT multimetal monitor
Single particle Soot photometer
7 λ Aethalometer
Surface
IN-SITU
IN-SITU
IN-SITU
Bulk

## Slide 5
Photon in  change in electronic state of the atom
 Absorption of the photon (XAS)
 Electron being kicked out (XPS)
 Photon emitted during relaxation (XRF)
Spectroscopy .
X-ray Spectroscopy
+
Notes: Similar information out – BUT: differnt resolution in energy but also sample environment and syrface / bulk sensitivity

## Slide 6
Xray electron spectroscopy (XPS) uses ”photoelectric effect” i.e. photons are absorbed by electrons, whereupon electrons are ejected.
The electrons cannot escape more than a few nanometers of marterial without loosing energy, hence XPS is surface specific.
The electron bindning energy carries information about chemical state.

## Slide 7: MAX IV synchrotron Aerosol Sample Delivery System
Preger, C., Rissler, J., Kivimaki, A., Eriksson, A. C. and Walsh, N., A versatile sample-delivery system for X-ray photoelectron spectroscopy of in-flight aerosols and free nanoparticles at MAX IV Laboratory. J Synchrotron Radiat. 2024;31(Pt 5):1382-1392.

## Slide 8: MAX IV synchrotron Aerosol Sample Delivery System
Aerodynamic lens to form a focus particle beam and bring the aerosol into vacuum.
True aerosol can be studied, post-collection might alter the particle properties
The aerosol is constantly renewed, no beam damage
Study dynamic process and evolution over time
Collecting the aerosol particles onto a support
Bringing it to MAX IV
Measuring
It is no longer a true ‘aerosol’!
OFFLINE
ONLINE (in-situ)

## Slide 9
Marcus Norlin and Linnea Savér, M.Scs
Diffuse dust at lead battery recycling plant
investigated through
X-ray Fluorescence Spectroscopy

## Slide 10
Marcus Norlin and Linnea Savér, M.Scs

## Slide 11: Soot, Organic aerosol, Salt aerosol https://doi.org/10.5194/acp-23-3051-2023

## Slide 12
Laboratory Combustion experiments
We measure
Particle:
*mass and number concentration
*chemical composition
*light absorption
*water and ice activity
*toxicity
*CO2
*CO
*NOx

## Slide 13
Laboratory Combustion experiments
Christina Isaxon (LTH), Asmamaw Abera Kebede (Addis Ababa University and Armauer Hansen Research Institute)
Axel Eriksson (me)

## Slide 14
Charcoal stove
Collected particles
Laboratory Combustion experiments

## Slide 15
Water boiling test Eriksson et al 2022 DOI: 10.1111/ina.13143

## Slide 16
Swedish wood stove PAH emissions

## Slide 17
Swedish wood stove –atmospheric ageing
Enhancement= mass growth upon oxidation

## Slide 18: Secodary organic aerosol (SOA) surface and bulk measurement in situ
X-rays
Photoelectrons from
Particle surfaces
Energy shows chemical state
Pilot data using OCU* flow reactor
on alpha pinene (g)
Show divergent bulk and surface oxidation
Keller et al 2022 The organic coating unit https://doi.org/10.1080/02786826.2022.2110448
Aerosol
X-rays

## Slide 20
More oxidized bulk
Less oxidized surface
We grow Seconday Organic Aerosol by oxidation of gas phase precursors onto seed particles
Seed particle wetness more impactful than precursor molecule on surface composition highlighting importance of particle surface processes
divergent bulk and surface oxidation

## Slide 21: Flame experiments with the ASDS
General users performed the first open-flame experiments at FinEstBeAMS (and at MAX IV) in October 2023
Soot and other product formation was studied in different burning conditions for propane and ethylene
Products were transported to the entrance of the aerosol sample delivery system with the aid of a carrier gas (N2)
C 1s photoelectron spectra were measured at hn=350 eV
African Light Source Conference, 15 Nov. 2023
Side from Dr Antti Kivimäki

## Slide 22
In flight X-ray photoelectron spectroscopy (XPS) for surface study
Preger, C., Rissler, J., Kivimaki, A., Eriksson, A. C. and Walsh, N., A versatile sample-delivery system for X-ray photoelectron spectroscopy of in-flight aerosols and free nanoparticles at MAX IV Laboratory. J Synchrotron Radiat. 2024;31(Pt 5):1382-1392.
S. Bergqvist, PhD thesis (2025)
Saga_Bergqvist_-_WEBB.pdf
A sampling probe used for extracting soot from the flame
Aerosol sample delivery system at Max IV
Kim Cuong Le https://orcid.org/0009-0003-3441-3575
Notes: ASDS is that it brings aerosols generated by laboratory sources from atmospheric pressure to a vacuum chamber in a continuous flow, enabling in-flight measurements using e.g. XPS. The aerosol particles are transmitted through an ADL (Aerodyne PM1) such that, after exiting the ADL, they form a narrow and collimated beam. The defined particle beam intersects the photon beam coming from the (FinEstBeAMS) beamline, just below the end of the electron lens of a SCIENTA R4000 electron analyzer. The SCIENTA R4000 hemispherical electron analyzer measures the kinetic energies of the emitted electrons, Fig. 1.
The ASDS is a multi-stage pumping system consisting of two chambers – the source chamber [SC in Figs. 1(b) and 1(c)], which connects to the external aerosol generators via a small 100 µm orifice, and a differential pumping chamber [DC in Figs. 1(b) and 1(c)]. These two chambers are separated by a skimmer [1–2 mm opening diameter, SK′ in Fig. 1(c)]. The differential pumping chamber is separated from the main interaction chamber [IC in Figs. 1(b) and 1(c)] by a second skimmer [0.5–2 mm opening diameter, SK in Fig. 1(c)] that is aligned to ensure overlap of the particle beam with the interaction region of the endstation (GPES), Fig. 1

## Slide 23
In flight X-ray photoelectron spectroscopy (XPS) for surface study
At FinEstBeAMS
XPS detects kinetic energy of electron from the very top surface (~ a few nm of the sample)
surface information.
We used h 350 eV to probe C1s orbital.
sp2 (-C=C- )
sp3 (C-H )
C-O
290
281
Notes: Why XPS can probe the surface? How can we know the thickness?
ChatGPT said:
ChatGPT
Why XPS Can Probe the Surface
X-ray Photoelectron Spectroscopy (XPS) is a surface-sensitive technique because of the limited mean free path of photoemitted electrons in solids. When X-rays strike a material, they eject core-level electrons, which have specific binding energies characteristic of the elements and chemical states present.
Surface Sensitivity: The ejected electrons interact with atoms as they travel through the material. These interactions cause energy losses or deflection, and only electrons originating from a shallow depth (a few nanometers) can escape without significant energy loss. As a result, the XPS signal predominantly represents the topmost atomic layers (1–10 nm).

## Slide 24
https://orcid.org/0000-0002-7205-0723

## Slide 25
DOI: (10.1021/acs.estlett.5c00398)
https://orcid.org/0000-0002-7205-0723

## Slide 26: Gas-particle partitioning from mixing sea salt and inert sulfate
According to thermodynamics, it is expected that Cl- ions evaporate and form HCl gas during aerosol generation and drying, but only if relative humidity (RH) or particle mass concentration is low enough
The Cl 2p signal from the gas molecules (HCl) is shifted in binding energy with respect to the Cl 2p signal from the aerosol particles
The ratio between the Cl 2p gas and particle signals changed when changing the salt concentration and RH
AS = ammonium sulphate = (NH4)2SO4

## Slide 27: Gas-particle partitioning from mixing sea salt and inert sulfate

## Slide 28: MAXIV 2025 Engineered Carbon Nanomaterials
Beamtime 12-16 March
Vilhelm Malmborg
https://orcid.org/0000-0002-4362-1646

## Slide 29: Setup
29
Silica Drier
Volume
Denuder
O3
Aerodynamic Lens
Particle Suspension: MilliQ / Carbon Nanomaterials
Sonicated for >15 min, repeated when signal declined
2.2m
HEPA
PINQ
SMPS
0.6m
XPS
0.75l
AIR
O3 Monitor

## Slide 30
Based on 9,10-bis (phenylethynyl) anthracene-nitroxide (BPEAnit) ROS assay,
1 min resolution,
sensitivity to a broad range of ROS,
Detects both particle phase and gas-phase ROS
The sample liquid fluorescence is continuously measured in a small flow-through quartz cell contained within a stainless steel housing. The excitation source is a 450 nm diode laser, and the fluorescence response measured perpendicularly with an Oceanoptics USB2000+ spectrometer

## Slide 31
Based on 9,10-bis (phenylethynyl) anthracene-nitroxide (BPEAnit) ROS assay,
1 min resolution,
sensitivity to a broad range of ROS,
Detects both particle phase and gas-phase ROS ( crucial to combine with PTRMS)
The sample liquid fluorescence is continuously measured in a small flow-through quartz cell contained within a stainless steel housing. The excitation source is a 450 nm diode laser, and the fluorescence response measured perpendicularly with an Oceanoptics USB2000+ spectrometer

## Slide 32: Online-offline aerosol experiments
Collection
Extraction
Re-aerosolization (nebulizer)
Analysis in aerosol phase

## Slide 33
Sample
Monochromatic X-rays
Transmitted X-rays
X-ray Absorption Spectroscopy XAS
+
The absorbed X-rays at a specific wavelength is measured
Monodisperse X-rays are scanned over the absorption edge of a specific element and the absorption is detected as a function of photon energy
E
Notes: Tuneability needed in a wide range of photon energies – a synchrotron needed for XAS (benh top possible for specific wave lengths)

## Slide 34: Offline XANES results
Zink: change in chemical state from re-aerolization
Iron: no change in chemical state from re-aerolization
XANES is used to fingerprint an atoms chemical state
Offline
Particle bulk

## Slide 35: Take home messages
Aerosol science at FinEstBeAMS (maxiv) via aerosol sample delivery system ASDS to study aerosol particle surfaces in-flight.
Half dozen P.I.s (some highligted here) use the ASDS for climate and health relevant reserach.
Aerosol particle surfaces are distinct from aerosol particle bulk. At the surface, growth and oxidation takes place.
For non-soluble particles surface is likely driver of advese health effects.
The ASDS can be used to study African aerosol now.
There is also non-aerosol atmosperic science done at MAXIV, and aerosol science which is not atmospheric (nanotech).
A future AfLS beamline for aerosol, please!