## Slide 1: DEVELOPMENT OF A SOLAR POWER PLANT
L. W. Beneke1, Dr. C.J.S. Fourie 2 , Prof Z Haum3
1. Department Mechanical, Engineering Tshwane University of Technology, South Africa, benekelw@tut.ac.za
2. Department of Environmental, Water and Earth Sciences, Tshwane University of Technology, South Africa, fouriecjs@tut.ac.za
3. Department Mechanical, Engineering Tshwane University of Technology, South Africa,
haumz@tut.ac.za

## Slide 2: OUTLINE
Introduction
Design
Simulations
Solar Power Plant
Conclusion

## Slide 3: Introduction
Project Statement
  The project is the alternative design, where wind power is very low, of an effective solar power plant to generate sufficient wind flow and that can turn a turbine to generate power.
  The project will be concentrating on three aspects:
    Design of solar power plant
      Chimney
      Extension
      Turbine
      Inlet aperture
      Steel plate
    Simulation - ANSYS Fluent programme
      Winters day in Pretoria
      Average day in Pretoria
      Summers day in Pretoria
    Pilot solar power plant
      Manufacturing of power plant
      Capture of data

## Slide 4: Design
Design
  The design is based on the shape of the cool towers of Eskom. The parts are as follow: Steel Plate (Base Plate), Inlet aperture, Chimney, Turbine and Extension.
  Material: Mild Steel with matt black finished
  Turbine: Place top of chimney
Symbol | Explanation
Dc | Bottom diameter of the chimney
dc | Top outlet diameter of the chimney
Lc | Height of the chimney
I | Inlet aperture
Dp | Steel plate diameter
Le | Height of extension
De | Top diameter of extension

## Slide 5: Simulation
Simulation
  ANSYS Fluent programme
    Look into three different cases
      Winter day in Pretoria
        Static Pressure
        Air Density
        Velocity in y direction
        Static Temperature
        Total Energy
      Average day in Pretoria
        Static Pressure
        Air Density
        Velocity in y direction
        Static Temperature
        Total Energy
      Summer day in Pretoria
        Static Pressure
        Air Density
        Velocity in y direction
        Static Temperature
        Total Energy

## Slide 6: Simulation
      Winters day in Pretoria
  Temperature – 17 oC
  Steel Plate Temperature – 30 oC
  Pressure (Atmospheric) – 101.325 kPa
  Wind speed – 0 m/s
  Materials - Steel and atmospheric air
  Air Density – 1.216534 kg/m3
Chart: Interval
| -2.0000000000000028E-2 | 0 | 3.0000000000000044E-2 | 6.0000000000000081E-2 | 9.0000000000000066E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Static Pressure | -0.04846 | -0.044002 | -0.036907 | -0.031537 | -0.027234 | -0.022517 | -0.018121 | -0.014991 | -0.013506 | -0.012972 | -0.011897 | -0.0090307 | -0.0069256

## Slide 7: Simulation
      Winters day in Pretoria
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Velocity (y direction) | 0.0022793 | 0.016749 | 0.056719 | 0.087525 | 0.11051 | 0.12895 | 0.14688 | 0.16633 | 0.1814 | 0.20796 | 0.228 | 0.24234 | 0.25048
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Total Energy | -22.563 | -69.947 | -83.0938 | -68.5959 | -53.2249 | -39.0004 | -26.1289 | -16.6259 | -11.0932 | -15.6983 | -16.497 | -19.6114 | -22.382

## Slide 8: Simulation
      Average day in Pretoria
  Temperature – 25 oC
  Steel Plate Temperature – 40 oC
  Pressure (Atmospheric) – 101.325 kPa
  Wind speed – 0 m/s
  Materials - Steel and atmospheric air
  Air Density – 1.183892 kg/m3
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Static Pressure | -0.0044045 | -0.0023361 | -0.0008287 | -0.0013773 | -0.0019996 | -0.0018451 | -0.0010774 | -0.00040491 | -8.2104e-05 | -7.3073e-05 | -3.9828e-05 | -7.6266e-05 | 6.6421e-05

## Slide 9: Simulation
      Average day in Pretoria
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Velocity (y direction) | 0.0018413 | 0.011487 | 0.045044 | 0.064195 | 0.083198 | 0.093685 | 0.10268 | 0.11016 | 0.11466 | 0.12068 | 0.12772 | 0.13401 | 0.13604
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Total Energy | 651.2445 | 605.2168 | 451.454 | 344.9024 | 255.5615 | 183.2598 | 123.909 | 76.9261 | 52.0677 | 71.5647 | 74.871 | 81.2522 | 89.6234

## Slide 10: Simulation
      Summers day in Pretoria
  Temperature – 38 oC
  Steel Plate Temperature – 60 oC
  Pressure (Atmospheric) – 101.325 kPa
  Wind speed – 0 m/s
  Materials - Steel and atmospheric air
  Air Density – 1.134428 kg/m3
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Static Pressure | -0.0049754 | -0.002741 | -0.00076627 | -0.0014641 | -0.0022095 | -0.0019972 | -0.0012242 | -0.00092392 | -3.8131e-05 | -0.001185 | -0.0019855 | -0.0018109 | -0.0016172

## Slide 11: Simulation
      Summers day in Pretoria
Chart: 
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Velocity (y direction) | -0.0013594 | 0.00473 | 0.045187 | 0.069356 | 0.093136 | 0.10665 | 0.11905 | 0.12712 | 0.12461 | 0.13679 | 0.14625 | 0.14962 | 0.14966
Chart: Interval
| -2.0000000000000011E-2 | 0 | 3.0000000000000002E-2 | 6.0000000000000032E-2 | 9.0000000000000024E-2 | 0.12000000000000002 | 0.15000000000000024 | 0.18000000000000024 | 0.2 | 0.23 | 0.26 | 0.29000000000000031 | 0.32000000000000062
Total Energy | 2437.8497 | 2296.1878 | 1882.3515 | 1484.7969 | 1124.0309 | 822.4714 | 560.4904 | 358.9196 | 238.4035 | 332.9977 | 352.5041 | 408.4384 | 460.7995

## Slide 12: Solar Power Plant
    Pilot solar power plant
  The pilot plant was manufacture from square tubing and mid steel plates. It was painted with matt black because to observe the most energy from the sun.
  An EL-WIN-USB EasyLog data logger was used to took results in different scenarios:
    Solar power plant without mirrors
    Solar power plant with mirrors

## Slide 13: Solar Power Plant
    Solar power plant without mirrors
Chart: Time, Power(mW)

## Slide 14: Solar Power Plant
    Solar power plant with mirrors
Chart: Time, Power (mW)

## Slide 15: Conclusions
    Simulation
      Good flow rate according to the velocity
      Through out the power plant a changes in air density
      The maximum static pressure, top of chimney, by turbine
    Pilot solar power plant
      For small solar pilot power plant get micro Watts and micro Voltages out
      The daily temperature playing a big roll
      It’s clear that we generate maximum power between 10:00 am and 16:00 pm daily
Way forward
  Busy writing up
  Completion date December 2014

## Slide 16
THANK YOU TO AEON AND INKABA yeAFRICA
QUESTIONS ?